Virginia Institute of Marine Science

School of Marine Science

August 2, 2010

Re: Analysis of organic contaminants in San Francisco compost

To: Michael Hansen, Consumer Union:

A sewage sludge-derived compost from the Synagro CVC plant, distributed by the San Francisco Public Utilities Commission in their "compost give away" program,

was analyzed for synthetic pollutants.  Several classes of emerging contaminants were detected in appreciable concentrations, including polybrominated diphenyl ether (PBDE) flame retardants, nonylphenol (NP) detergent breakdown products and the antibacterial agent triclosan.

Analysis was requested by John Stauber of the Food Rights Network.  Two aliquots were extracted and analyzed separately.

Priority pollutants detected included the chlorinated pesticide degradate DDE and polycyclic aromatic hydrocarbons (PAHs).  DDE was present at an average concentration of 41.8 ng/g (dry weight).  The average for total PAHs in the two samples extracted was 1010 ng/g.  Constituents included alkylated and non-alkylated PAHs.  The former are generally petroleum in origin, while the latter may be combustion-related and included compounds such as benzo(a)pyrene, pyrene, fluoranthene and phenanthrene.

A number of PBDE congeners were detected in both extracts by gas chromatography/mass spectrometry.  PBDEs are persistent and bioaccumulative in the environment.  Elevated levels have recently been reported in Californians (e.g. Rose, M. 2010. PBDEs in 2−5 Year-Old Children from California and associations with diet and indoor environment. Environ. Sci. Technol. 44:2648–2653). The average total of these congeners was 731 ng/g (dry weight basis). The constituents examined here possessed between 3 and 7 bromines and the pattern of congeners matched the PentaBDE formulation.  Major congeners detected were BDE47, 99, 100, 153 and 154.  At this time the samples have not been analyzed for the major constituents of the DecaBDE product.  DecaBDE is used in greater amounts than PentaBDE or OctaBDE, but is believed to be less bioavailable and toxic than the former two products.  However, DecaBDE (BDE209) has been observed to breakdown to less brominated congeners and has been detected in humans and birds of prey.  The constituents of PentaBDE are the congeners most commonly reported in human tissues and wildlife (Birnbaum, L.S., Staskal, D.F. 2003. Brominated flame retardants: Cause for concern? Environmental Health Perspectives. 112: 9–17). The major constituent of OctaBDE is BDE183 and this congener was not detected.

Manufacture of PentaBDE (and a more brominated, but less widely used product known as OctaBDE) was voluntarily ended in North America by its producer (Chemtura Corp.) in December 2004 after deliberations with the EPA over environmental and human health effects.  PentaBDE and OctaBDE also have been banned by the European Union. Large amounts of these BFR remain, however, in in-use and discarded polymer products.  Therefore, releases to the environment will continue.

The anti-bacterial additive Triclosan was also detected in the compost (average 1312 ng/g). Methyltriclosan, a degradate generated from the Triclosan in the environment, was also detected in the compost (average 145 ng/g).  Methyltriclosan is more bioaccumulative than triclosan itself.  The US FDA is currently re-evaluating the safety of triclosan (http://www.fda.gov/ForConsumers/ConsumerUpdates/ucm205999.htm).

NPs and related compounds, including octylphenol and NP-mono and di ethoxylates were also detected in the compost (total average 10,500 ng/g). These are breakdown products of alkylphenol ethoxylate detergents.  They have been found to be weakly estrogenic to exposed organisms. NPs have been found to be toxic to aquatic organisms and the US EPA has developed aquatic life criteria (http://www.epa.gov/waterscience/criteria/nonylphenol/).  The criterion for marine life is 1.7 µg/L (ppb) and that for freshwater is 6.6 µg/L.  The average concentration of NP itself in the compost was 7065 ng/g (dw).

The compost contained approximately 22.7% water by weight.

Sincerely,

Robert C. Hale

Professor